| Correction Analysis Form |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Site Information (measurements in feet) |  |  |  |  |  |
| Project Name: George Davis Creek Fish Passage - Concrete Weir Removal or Modification |  | PRISM Project #: |  | Date: 6/21/18 |  |
| Bankfull Width (outside influence of culvert): 9 ft. |  | Utilities Crossing: Yes No Unknown |  |  |  |
| Road Fill at Culvert Invert: N/A |  | Road Width: N/A |  |  |  |
| Road Description/Condition (mainline, spur road, driveway/access): N/A |  |  |  |  |  |
| Evaluator Information |  |  |  |  |  |
| Evaluator Name: Danika Globokar |  | Affiliation: City of Sammamish, Assoc. Stormwater Engineer |  |  |  |
| Mailing Address: 801 228th Ave SE |  | City: Sammamish | State: WA |  | Zip: 98075 |
| Telephone: 425-295-0516 | FAX: | Cell: 425-531-1282 | E-mail: dglobokar@sammamish.us |  |  |
| Upstream Habitat/Channel Description |  |  |  |  |  |
| Channel Slope (outside of culvert influence): 6% (not a culvert) |  | Re-grade Potential (streambed US – streambed DS in feet): Not a culvert. With weir removal, an estimated 2-to-3-foot depth of sediment may be mobilized downstream. |  |  |  |
| Dominant Substrate: Sand (<1/5”) Gravel (1/5”–3”) Cobble (3”-12”) Boulder (>12”) Bedrock |  |  |  |  |  |
| Additional Upstream Information, Habitat Description, Other Site Conditions or Concerns, Including Potential Re-Grade Impacts Relative to Channel Stability And Habitat: A forested ravine with in-stream wood and primarily native vegetation extends upstream from the weir, with favorable habitat conditions. In addition to medium gravel as the dominant substrate type, some rounded cobbles and small boulders are also present. |  |  |  |  |  |
| Downstream Habitat/Channel Description |  |  |  |  |  |
| Channel Slope: 6% (outside of culvert influence) |  |  |  |  |  |
| Additional Downstream Information, Habitat Description, Other Site Conditions or Concerns: Downstream, on the upstream side of E Lake Sammamish Parkway, there is an existing, in-line sedimentation pond and high-flow-bypass diversion structure. The channel approaching the Parkway is lined with non-native vegetation including ivy and Himalayan blackberry in backyard areas. Three significant fish passage barriers occur downstream of the weir. These are at East Lake Sammamish Parkway, East Lake Sammamish Trail, and East Lake Sammamish Shore Lane. An additional piped section occurs downstream of Shore Lane and is considered part of the Shore Lane barrier. A short open channel section occurs extending upstream from the mouth of the stream at Lake Sammamish. Kokanee have been observed in this section in years past. At the upper end of this section, the creek passes beneath the Behringer-Titcomb residence in a structure resembling a box culvert, which was reconstructed in 2008 to be entirely fish-passable. Correction of all of these downstream barriers is proposed by related, proposed projects. |  |  |  |  |  |
| Correction Options and Preferred Alternative |  |  |  |  |  |
| ## Options to Consider – Provide up to Three Site-Appropriate Correction Alternatives. Option 1: Remove the concrete weir and export demolition debris consisting primarily of concrete rubble. The design of the project will evaluate potential effects of channel profile regrading and resulting downstream sediment transport, and may include initial (but not ongoing) sediment removal along with weir removal. Option 2: Modify the channel section extending downstream from the weir by raising the channel bed, adjusting the channel gradient, and placing stable, well-graded rounded rock material along with embedded log structures to provide a roughened channel section with cascade characteristics of successive low plunges between shallow pools. Such roughened stream channel sections resemble natural cascades in form and function and provide upstream fish passage across relatively steep gradients. |  |  |  |  |  |
| ## Preferred Alternative - Provide a 1- or 2-paragraph Recommendation for this Site. Include any Site-Specific Concerns that Will Need to be Addressed During Design and Construction: ## Option 1 is the preferred alternative because it is simple, straightforward, relatively low cost, and provides a permanent, long-term solution to the existing barrier. Channel modifications have been undertaken before (King County, 1995), consisting primarily of log placement to correct the barrier, however those efforts met limited success and were relatively short-lived. Option 2 would require the import of a significant quantity of streambed materials, including logs and boulders, and would likely require large equipment access resulting in considerable disturbance to existing high-quality habitat. Concrete weir demolition and removal as proposed under Option 1 could be done by hand labor with low impacts for ingress and egress. A compressor would be placed at an accessible location above the ravine sideslope and hoses run to a hand-carried jack hammer at the weir location. Concrete pieces would be broken into small enough chunks to be hand-carried in buckets out of the ravine. Some of the excessive sediment stored above/in the weir may also need to be hand-carried out, but this remains to be seen. It may be determined that it is not problematic to allow those sediments to re-distribute naturally following weir removal, and/or it may be possible to intercept them downstream for removal at the existing sediment pond associated with the high-flow bypass diversion structures located on the upstream side of East Lake Sammamish Parkway. |  |  |  |  |  |
| Cost Estimates |  |  |  |  |  |
| Rough Cost Estimate* - Attach Detailed Cost Breakdown Using the Appropriate Cost Estimate Template, Provided Separately. Option 1: $ 150,850 (cost breakdown provided on cost estimate spreadsheet) Option 2: $ 150,000 Option 3: $ *This is a rough approximation of project costs; actual costs may vary depending on specifications identified during final project design. |  |  |  |  |  |

# Correction Analysis Form Instructions

## Site Information

Project Name – This is the landowner’s last name followed by the creek name. If more than one site per landowner is evaluated on the same creek, designate each site with a letter, e.g. Franklin – Boulder Creek A.

PRISM Project Number – This will be provided by PRISM database.

Bankfull Width – The stream width measured perpendicular to flow at the stage at which water begins to overflow into the active flood plain. Bankfull width requires a floodplain or a bench not present in many channels. In those cases, use ordinary high water. Ordinary high water is where the regular stream flow makes a line on the bank marking soil or vegetation with a character distinct from that of the abutting upland. Also defined as the lowest point at which perennial vegetation grows on the stream bank. Enter the average of several bankfull width measurements taken up and/or downstream of the culvert, outside the influence of the culvert.

Utilities Crossing – Include any water, gas, phone or electrical utilities at the crossing to be affected by project construction.

Road Fill at Downstream End – Measure height of material from top of culvert to top of fill at downstream end.

Road Width – Measurement should include shoulders.

Road Description/Condition – Provide a brief description of the road surface, use, condition, etc.

## Evaluator Information

Provide contact information for the people completing the Correction Analysis Form.

## Upstream Habitat and Channel Description

Channel Slope – This is measured outside of the culvert influence.

Re-grade Potential – Subtract the downstream streambed elevation from the upstream streambed elevation at the site.

Dominant Substrate – Identify the size category most prominent in the substrate.

Additional Information – Provide any additional upstream information that may be important to the project.

## Downstream Habitat and Channel Description

Channel Slope – This is measured outside of the culvert influence.

Additional Information – Provide any additional upstream information that may be important to the project.

## Correction Options and Preferred Alternative

Options to Consider – The purpose of this section is to provide the sponsor some guidance on the intended fix. Most small forest landowner projects should be relatively straightforward; however each site is different.

Preferred Alternative – Describe the recommended correction and site-specific concerns to be addressed during design and construction.

## Cost Estimates

Rough cost estimate – Provide estimated costs for correction options listed above. Costs should be based on cost estimate templates, provided separately, for culverts, bottomless arch culverts, and bridges. Attach the corresponding completed template for each estimate. These represent approximate costs; actual costs may vary depending on specifications identified during final project design.